## OH Line Data
Sr. No. | Layout | Voltage | Line Name (Green Highlight shows lines included in Grid Availability & orange shows not included in Grid Availability) | O/H Line Ckt KM | U/G Cable Ckt KM | Total Ckt KM (O/H + U/G) | Conductor / Phase | Conductor Type | Line Capacity In Amp. | Commissioning Year | Line Configuaration with Phase Sequence from Top to Bottom | Trombay Camp Circuit KM | Salsette Camp Circuit KM | Borivali Camp Circuit KM | Kalyan Camp Circuit KM | Panvel Camp Circuit KM | Khopoli Camp Circuit KM
1 | OH/UG | 220 kV | Bhira Karanjade 7 | 73.659 | 0.135 | 73.794 | 1 | 0.5 MOOSE | 900 | 2020 | Vertical, A, B, C |  |  |  |  | 27.8 | 45.859
2 | OH/UG | 220 kV | Bhira Karanjade 8 | 73.659 | 0.11 | 73.769 | 1 | 0.5 MOOSE ACSR | 900 | 2020 | Vertical, A, B, C |  |  |  |  | 27.8 | 45.859
3 | OH/UG | 220 kV | Waghivali Dharavi 7 | 24.34 | 3.147 | 27.487 | 1 | 0.5 MOOSE & ACCC Casablanca | 900 | 2020 | Vertical, A, B, C | 10.94 |  |  |  | 13.4
4 | OH/UG | 220 kV | Waghivali Dharavi 8 | 24.34 | 3.147 | 27.487 | 1 | 0.5 MOOSE & ACCC Casablanca | 900 | 2020 | Vertical, A, B, C | 10.94 |  |  |  | 13.4
5 | OH/UG | 220 kV | Trombay KVTL Vikhroli 1 | 16.04 | 0.113 | 16.153 | 1 | 0.5 MOOSE ACSR | 900 | 2023 | Vertical, A, B, C | 11.69 | 4.35
6 | OH/UG | 220 kV | Trombay KVTL Vikhroli 2 | 16.26 | 0.416 | 16.676 | 1 | 0.5 MOOSE ACSR | 900 | 2023 | Vertical, A, B, C | 11.22 | 5.04
7 | OH/UG | 220 kV | KVTL Vikhroli Salsette 3 | 9.24 | 0.117 | 9.357 | 1 | 0.5 MOOSE ACSR | 900 | 2023 | Vertical, A, B, C |  | 9.24
8 | OH/UG | 220 kV | KVTL Vikhroli Salsette 1 Saki 7 | 16.876 | 3.319 | 20.195 | 1 | 0.5 MOOSE ACSR | 900 | 2023 | Vertical, A, B, C |  | 16.876
9 | OH/UG | 220 kV | KVTL Vikhroli Salsette 2 | 9.1 | 0.231 | 9.331 | 1 | 0.5 MOOSE ACSR | 900 | 2023 | Vertical, A, B, C |  | 9.1
10 | OH/UG | 220 kV | Trombay Carnac 7 | 4.94 | 7.759 | 12.699 | 1 | 0.5 MOOSE ACSR | 900 | 1993 | Vertical, A, B, C | 4.94
11 | OH/UG | 220 kV | Trombay Antop Hill 1 | 4.71 | 0.66 | 5.37 | 1 | 0.5 MOOSE ACSR | 900 | 2020 | Vertical, A, B, C | 4.71
12 | OH/UG | 220 kV | Trombay Antop Hill 2 | 4.89 | 0.66 | 5.55 | 1 | 0.5 MOOSE ACSR | 900 | 2020 | Vertical, A, B, C | 4.89
13 | OH/UG | 220 kV | Trombay Carnac 5 | 5.156 | 7.231 | 12.387 | 1 | 0.5 MOOSE ACSR | 900 | 1987 | Vertical, C, B, A | 5.156
14 | OH/UG | 220 kV | Trombay Carnac 6 | 5.156 | 7.231 | 12.387 | 1 | 0.5 MOOSE ACSR | 900 | 1987 | Vertical, C, B, A | 5.156
15 | OH/UG | 220 kV | Trombay Dharavi 5 | 8.6 | 2.4 | 11 | 1 | 0.5 MOOSE ACSR | 900 | 1992 | Vertical, A, B, C | 8.6
16 | OH/UG | 220 kV | Trombay Dharavi 6 | 8.6 | 2.4 | 11 | 1 | 0.5 MOOSE ACSR | 900 | 1992 | Vertical, A, B, C | 8.6
17 | OH/UG | 220 kV | Trombay Dharavi 9 | 6.62 | 2.76 | 9.38 | 1 | 0.5 MOOSE ACSR | 900 | 2016 | Vertical, A, B, C | 6.62
18 | OH | 220 kV | Trombay MSETCL Tie 1 | 0.85 | 0 | 0.85 | 2 | 2 x 0.5 MOOSE ACSR | 1800 | 1982 | Vertical, A, B, C | 0.85
19 | OH | 220 kV | Trombay MSETCL Tie 2 | 0.85 | 0 | 0.85 | 2 | 2 x 0.5 MOOSE ACSR | 1800 | 1982 | Vertical, A, B, C | 0.85
20 | OH/UG | 220 kV | Salsette Borivli 1 | 10.97 | 0.1 | 11.07 | 1 | 0.5 MOOSE ACSR | 900 | 1995 | Vertical, A, B, C |  | 1.48 | 9.49
21 | OH/UG | 220 kV | Salsette Borivli 2 | 10.97 | 0.1 | 11.07 | 1 | 0.5 MOOSE ACSR | 900 | 1995 | Vertical, A, B, C |  | 1.48 | 9.49
22 | OH | 220 kV | Kalwa Salsette 3 | 7.77 | 0 | 7.77 | 2 | ACCC Casablanca Twin conductors | 1800 | 1992 | Vertical, A, B, C |  | 6.5 |  | 1.27
23 | OH | 220 kV | Kalwa Salsette 4 | 7.77 | 0 | 7.77 | 2 | ACCC Casablanca Twin conductors | 1800 | 1992 | Vertical, A, B, C |  | 6.5 |  | 1.27
24 | OH/UG | 220 kV | Salsette-Sahar | 6.5 | 4.28 | 10.78 | 1 | 0.5 MOOSE ACSR | 900 | 2016 | Vertical, A, B, C |  | 6.5
25 | OH/UG | 220 kV | Salsette Saki 7 | 6.5 | 3.316 | 9.816 | 1 | 0.5 MOOSE ACSR | 900 | 2016 | Vertical, A, B, C |  | 6.5
26 | OH | 220 kV | Tata Borivli MSETCL Borivli 4 | 1.7 | 0 | 1.7 | 2 | 2 x 0.5 MOOSE ACSR | 1800 | 2011 | Vertical, A, B, C |  |  | 1.7
27 | OH | 220 kV | Tata Borivli MSETCL Borivli 5 | 1.5 | 0 | 1.5 | 2 | 2 x 0.5 MOOSE ACSR | 1800 | 2011 | Vertical, A, B, C |  |  | 1.5
28 | OH/UG | 220 kV | Kalwa Salsette 5 | 4.65 | 5 | 9.65 | 2 | ACCC Casablanca Twin conductors | 1800 | 2023 | Vertical, A, B, C |  | 4.65
29 | OH/UG | 110 kV | Khopoli Karanjade | 36.13 | 0.072 | 36.202 | 2 | 2x0.2 Panther & 2x0.15 Wolf ACSR | 900 | 2020 | Vertical, A, B, C |  |  |  |  | 31.63 | 4.5
30 | OH/UG | 110 kV | Waghivali Chembur | 21.34 | 0.847 | 22.187 | 2 | 2x0.2 Panther & 2x0.15 Wolf ACSR | 900 | 2020 | Vertical, A, B, C & Horizontal | 8.2 |  |  |  | 13.14
31 | OH | 110 kV | Bhira Khopoli 2 | 50.96 | 0 | 50.96 | 1 | 0.2 Panther ACSR & 0.2 Copper | 550 | 1958 | Vertical, A, B, C & Horizontal Facing towards Devnhave from right to left A, B, C | [5 empty] | 50.96
32 | OH | 110 kV | Khopoli Davdi | 39.84 | 0 | 39.84 | 1 | 0.2 Panther ACSR | 550 |  | Horizontal, at Davdi end Vertical | [5 empty] | 39.84
33 | OH | 110 kV | Bhira Davdi | 10.131 | 0 | 10.131 | 1 | 0.2 Panther ACSR | 550 |  | Horizontal, at Davdi end Vertical | [5 empty] | 10.131
34 | OH | 110 kV | Khopoli Bhokarpada | 22.75 | 0 | 22.75 | 2 | 2 x 0.15 Wolf ACSR | 900 | 2018 | Horizontal, Unstandard |  |  |  |  | 18.25 | 4.5
35 | OH/UG | 110 kV | Bhokarpada Karanajde | 12.96 | 0.06 | 13.02 | 2 | 2 x 0.15 Wolf ACSR | 900 | 2020 | Horizontal, Unstandard |  |  |  |  | 12.96
36 | OH/UG | 110 kV | Waghivali Mankhurd | 15.21 | 0.055 | 15.265 | 2 | 2 x 0.15 Wolf ACSR | 900 | 2020 | Horizontal, Unstandard | 1.5 |  |  |  | 13.71
37 | OH | 110 kV | Khopoli Bhivpuri Tie # 1 | 28.67 | 0 | 28.67 | 1 | 0.2 Panther ACSR | 550 | 2003 | Vertical, A, B, C | [5 empty] | 28.67
38 | OH/UG | 110 kV | Khopoli Bhivpuri Tie # 2 | 28.62 | 0.26 | 28.88 | 1 | 0.5 MOOSE ACSR | 900 | 2015 | Vertical, A, B, C | [5 empty] | 28.62
39 | OH | 110 kV | Trombay Parel 4 Wadala 2 | 10.53 | 0 | 10.53 | 2 | 2 x 0.15 Wolf ACSR & 0.5 Moose ACSR | 900 | 2000 | Vertical, A, B, C & Horizontal | 10.53
40 | OH | 110 kV | Trombay Parel 1 Wadala 1 | 9.51 | 0 | 9.51 | 2 | 2 x 0.15 Wolf ACSR & 0.5 Moose ACSR | 900 | 1958 | Vertical, A, B, C | 9.51
41 | OH | 110 kV | Trombay Parel 2 | 8.69 | 0 | 8.69 | 2 | 2 x 0.15 Wolf ACSR & 0.5 Moose ACSR | 900 | 1958 | Vertical, A, B, C | 8.69
42 | OH/UG | 110 kV | Trombay Carnac 1 / 3 | 4.95 | 7.52 | 12.47 | 2 | 2 x 0.15 Wolf ACSR & 0.5 Moose ACSR | 900 | 1962 | Vertical, A, B, C | 4.95
43 | OH/UG | 110 kV | Trombay Chembur 3 | 5.7 | 1.59 | 7.29 | 2 | 2 x 0.15 Wolf ACSR & 0.5 Moose ACSR | 900 | 2000 | Vertical, A, B, C | 5.7
44 | OH/UG | 110 kV | Trombay Parel 3 / Carnac 2 | 4.95 | 3.638 | 8.588 | 2 | 2 x 0.15 Wolf ACSR & 0.5 Moose ACSR | 900 | 1962 | Vertical, A, B, C | 4.95
45 | OH | 110 kV | Parel Mankhurd | 11.095 | 0 | 11.095 | 2 | 2 x 0.15 Wolf ACSR | 900 | 1994 | Vertical, A, B, C | 11.095
46 | OH/UG | 110 kV | Dharavi BKC 4 | 2.57 | 2.275 | 4.845 | 2 | 2 x 0.15 Wolf ACSR | 900 | 2016 | Vertical, A, B, C | 2.57
47 | OH/UG | 110 kV | Dharavi BKC 3 | 2.57 | 2.294 | 4.864 | 2 | 2 x 0.15 Wolf ACSR | 900 | 2016 | Vertical, A, B, C | 2.57
48 | OH/UG | 110 kV | Dharavi BKC 5 | 2.57 | 3.19 | 5.76 | 2 | 2 x 0.15 Wolf ACSR | 900 | 2019 | Vertical, A, B, C | 2.57
49 | OH/UG | 110 kV | Dharavi Kurla-2 | 2.57 | 5.449 | 8.019 | 2 | 2 x 0.15 Wolf ACSR | 900 | 2019 | Vertical, A, B, C | 2.57
50 | OH/UG | 110 kV | Dharavi Vikhroli 2 | 10.775 | 0.363 | 11.138 | 2 | 0.2 Panther, 2 x 0.2 Panther ACSR, & CASABLANCA ACCC | 550 | 2012 | Vertical, A, B, C | 8.139 | 2.636
51 | OH | 110 kV | Dharavi Vikhroli 1 | 10.775 | 0.288 | 11.063 | 2 | 2 x 0.15 Wolf & 0.5 Moose ACSR | 900 | 1982 | Vertical, A, B, C | 8.139 | 2.636
52 | OH | 110 kV | Salsette Vikhroli 1 | 7.185 | 0.054 | 7.239 | 2 | 2 x 0.15 Wolf & 0.5 Moose ACSR | 900 | 1982 | Vertical, A, B, C |  | 7.185
53 | OH | 110 kV | Salsette Vikhroli 2 | 7.185 | 0.054 | 7.239 | 2 | 0.2 Panther, 2 x 0.2 Panther ACSR | 550 | 2012 | Vertical, A, B, C |  | 7.185
54 | OH | 110 kV | Salsette Kolshet | 10.907 | 0 | 10.907 | 1 | 0.35 Bison ACSR | 750 | 1972 | Vertical, A, B, C |  | 10.907
55 | OH | 110 kV | Salsette BMC | 3.48 | 0 | 3.48 | 1 | 0.35 Bison ACSR | 750 | 1976 | Vertical, A, B, C |  | 3.48
56 | OH | 110 kV | Salsette Saki 4 Kurla | 7.8 | 5 | 12.8 | 2 | 2 X Ostrich High Ampacity | 1872 | 1971 | Vertical, A, B, C |  | 7.8
57 | OH | 110 kV | Salsette Saki 3 BKC | 7.8 | 8 | 15.8 | 2 | 2 X Ostrich High Ampacity | 1872 | 1971 | Vertical, A, B, C |  | 7.8
58 | OH | 110 kV | Kolshet BMC BO BO 1 | 22.46 | 0 | 22.46 | 2 | 0.35 Bison & 2 x 0.2 Panther ACSR | 750 | 2015 | Vertical, A, B, C |  | 13.88 | 8.58
59 | OH/UG | 110 kV | Borivli Malad 1 | 7.96 | 0.1 | 8.06 | 2 | 2 X Ostrich High Ampacity | 1872 | 1985 | Vertical, A, B, C |  |  | 7.96
60 | OH/UG | 110 kV | Borivli Malad 2 | 7.96 | 0.1 | 8.06 | 2 | 2 X Ostrich High Ampacity | 1872 | 1985 | Vertical, A, B, C |  |  | 7.96
61 | OH/UG | 110 kV | Malad Versova 1 | 5.4 | 2.349 | 7.749 | 1 | 0.35 Bison ACSR | 750 | 1987 | Vertical, A, B, C |  |  | 5.4
62 | OH/UG | 110 kV | Malad Versova 2 | 5.4 | 2.349 | 7.749 | 1 | 0.35 Bison ACSR | 750 | 1987 | Vertical, A, B, C |  |  | 5.4
63 | OH | 110 kV | Tata Borivli MSETCL Borivli 2 | 1.9 | 0 | 1.9 | 2 | 2x0.2 Panther ACSR | 1100 | 1971 | Vertical, A, B, C |  |  | 1.9
64 | OH | 110 kV | Kalyan Kalwa Salsette 1 | 23.304 | 0 | 23.304 | 1 | 0.2 Panther ACSR | 550 | 1999 | Vertical, A, B, C |  | 6.502 |  | 16.802
65 | OH | 110 kV | Kalyan Kalwa Salsette 2 | 22.835 | 0 | 22.835 | 1 | 0.2 Panther ACSR | 550 | 1999 | Vertical, A, B, C |  | 6.502 |  | 16.333
66 | OH | 110 kV | Kalwa Kalyan | 16.802 | 0 | 16.802 | 2 | 2x0.2 Panther ACSR | 1100 | 1960 | Vertical, A, B, C & Horizontal |  |  |  | 16.802
67 | OH | 110 kV | Bhivpuri Ambernath 1 | 46.48 | 0 | 46.48 | 1 | 0.35 Bison ACSR | 750 | 1982 | Vertical, A, B, C |  |  |  | 35.49 |  | 10.99
68 | OH | 110 kV | Tata Ambernath MSETCL Neral | 40.34 | 0 | 40.34 | 1 | 0.35 Bison & 0.4 Zebra ACSR | 750 | 2011 | Vertical, A, B, C |  |  |  | 35.49 |  | 4.85
69 | OH | 110 kV | Tata Bhivpuri MSETCL Neral | 12.05 | 0 | 12.05 | 1 | 0.35 Bison & 0.4 Zebra ACSR | 750 | 2011 | Vertical, A, B, C | [5 empty] | 12.05
70 | OH | 110 kV | Ambernath Kalyan 1 | 19.85 | 0 | 19.85 | 1 | 0.35 Bison ACSR | 750 | 1971 | Vertical, A, B, C |  |  |  | 19.85
71 | OH | 110 kV | Ambernath Kalyan 2 | 19.85 | 0 | 19.85 | 1 | 0.35 Bison ACSR | 750 | 1971 | Vertical, A, B, C |  |  |  | 19.85
72 | OH | 110 kV | Chola Kalyan 1 | 2.5 | 0 | 2.5 | 1 | 0.2 Panther ACSR | 550 | 1929 | Vertical, A, B, C & Triangular |  |  |  | 2.5
73 | OH | 110 kV | Chola Kalyan 2 | 2.5 | 0 | 2.5 | 1 | 0.2 Panther ACSR | 550 | 1929 | Vertical, A, B, C & Triangular |  |  |  | 2.5
74 | OH/UG | 110 kV | Trombay BARC 3 | 2.2 | 1 | 3.2 | 1 | 0.2 Panther ACSR | 550 |  | Vertical, A, B, C | 2.2
75 | OH/UG | 110 kV | Trombay BARC 4 | 2.2 | 1 | 3.2 | 1 | 0.2 Panther ACSR | 550 |  | Vertical, A, B, C | 2.2
76 | OH | 110 kV | Trombay Dharavi 1 Dead Ckt | 5.85 | 0 | 5.85 | 2 | 2 x 0.15 Wolf ACSR & 0.5 Moose ACSR | 900 | 1957 | Vertical, A, B, C | 5.85
77 | OH | 110 kV | Spare Ckt at Trombay (Original TP#1) | 2.4 | 0 | 2.4 | 2 | 2 x 0.15 Wolf ACSR & 0.5 Moose ACSR | 900 | 1957 | Vertical, A, B, C | 2.4
78 | OH | 110 kV | Trombay ICT 4 | 0.76 | 0 | 0.76 | 2 | 2 x 0.5 MOOSE ACSR | 1800 | 1982 | Vertical, A, B, C | 0.76
79 | OH | 110 kV | Trombay ICT 5 | 0.76 | 0 | 0.76 | 2 | 2 x 0.5 MOOSE ACSR | 1800 | 1982 | Vertical, A, B, C | 0.76
80 | OH | 110 kV | Khopoli GT # 7 | 0.15 | 0 | 0.15 | 1 | 0.2 Panther ACSR | 550 |  | Vertical, A, B, C | [5 empty] | 0.15
81 | OH | 110 kV | Khopoli GT # 8 | 0.2 | 0 | 0.2 | 1 | 0.2 Panther ACSR | 550 |  | Vertical, A, B, C | [5 empty] | 0.2
82 | OH | 110 kV | Khopoli GT # 9 | 0.2 | 0 | 0.2 | 1 | 0.2 Panther ACSR | 550 |  | Vertical, A, B, C | [5 empty] | 0.2
83 | OH | 110 kV | Bhira ICT #1 | 0.684 | 0 | 0.684 | 2 | 2x0.2 Panther ACSR | 1100 |  | Vertical, A, B, C | [5 empty] | 0.684
84 | OH | 110 kV | Bhira ICT #2 | 0.684 | 0 | 0.684 | 2 | 2x0.2 Panther ACSR | 1100 |  | Vertical, A, B, C | [5 empty] | 0.684
85 | OH | 110 kV | CRSE 2 | 1.016 | 0 | 1.016 | 1 | 0.15 Wolf ACSR | 550 | 1929 | [6 empty] | 1.016
[9 empty] | Total |  |  | 201.015 | 154.729 | 59.38 | 168.157 | 172.09 | 289.763
|  |  |  | Total O/H Ckt | Trombay Camp O/H Ckt | Salsette Camp O/H Ckt | Borivali Camp O/H Ckt | Kalyan Camp O/H Ckt | Panvel Camp O/H Ckt | Khopoli Camp O/H Ckt
|  |  | 220 kV O/H Ckt included in Grid Availability | 349.54 | 95.16 | 55.54 | 22.18 | 2.54 | 82.4 | 91.72
|  |  | 110 kV O/H Ckt included in Grid Availabilty | 660.45 | 91.68 | 81.16 | 37.2 | 165.61 | 89.69 | 195.11
|  |  | 110 kV O/H Ckt Not included in Grid Availability | 17.1 | 14.17 | 0 | 0 | 0 | 0 | 2.93
|  |  | 22 kV & below O/H Ckt Not included in Grid Availability | 234 | 26.22 | 31.11 | 28.45 | 0 | 0.7 | 147.52
|  |  | Total | 1261.09 | 227.23 | 167.81 | 87.83 | 168.15 | 172.79 | 437.28
|  |  | No of Towers in Each Line Camp |  | 550 | 460 | 227 | 425 | 357 | 1430
Note on K1: Tembe Dinesh: Commissioning Year means only line formed. Its installation year may differ.
Note on F2: Tembe Dinesh: Cable XLPE 1C Cu 2000 sq mm
Note on F3: Tembe Dinesh: Cable XLPE 1C Cu 2000 sq mm
Note on F4: Tembe Dinesh: Waghivali GIS to Gantry - 0.347 (Cable XLPE 1C Cu 2000 sq mm) Chunnabhatti to Dharavi - 2.8 (Cable XLPE 1C Cu 1200 sq mm)
Note on F5: Tembe Dinesh: Waghivali GIS to Gantry - 0.347 (Cable XLPE 1C Cu 2000 sq mm) Chunnabhatti to Dharavi - 2.8 (Cable XLPE 1C Cu 1200 sq mm)
Note on F6: Tembe Dinesh: 220 kV Cable from Monopole end to KVTL, Vikhroli end
Note on F7: Tembe Dinesh: 0.30 Ckt KM 220 kV Cable from Trombay Bay to Tower No. 01 Termination end. 0.116 Ckt KM 220 kV Cable from Monopole end to KVTL, Vikhroli end
Note on F8: Tembe Dinesh: 220 kV Cable from Monopole end to KVTL, Vikhroli end
Note on F9: Tembe Dinesh: 3.319 Ckt KM 220 kV Cable from Loc. 28 at L&T end to Saki end. 0.116 Ckt KM 220 kV Cable from Monopole end to KVTL, Vikhroli end
Note on F10: Tembe Dinesh: 220 kV Cable from Monopole end to KVTL, Vikhroli end
Note on F11: Tembe Dinesh: Cable 3x1200 sqmm/ 1C ,Cu, XLPE
Note on F12: Tembe Dinesh: Cable from Trombay Bay to Termination Str at loc. 01 = 0.36 Km Cable from loc. 22 to GIS, Antop Hill = 0.3 KM
Note on F13: Tembe Dinesh: Cable from Trombay Bay to Termination Str at loc. 01 = 0.36 Km Cable from loc. 22 to GIS, Antop Hill = 0.3 KM
Note on F18: Tembe Dinesh: Cable from Trombay Bay to Termination Str at loc. 01 = 0.36 Km Cable from On line termination at Pratiksha Nagar Plot to Dharavi GIS = 2.4 KM
Note on F29: Tembe Dinesh: U/G Cable from Airoli Junction to Salsette RS
Note on F30: Tembe Dinesh: Cable XLPE 1C Cu 2000 sq mm
Note on F31: Tembe Dinesh: Waghivali GIS to Gantry - 0.06 Loc. 44 to Chembur - 0.787
Note on F36: Tembe Dinesh: Karanjade Gantry to GIS - Cable XLPE 1C Cu 2000 sq mm
Note on F37: Tembe Dinesh: Waghivali GIS to Gantry - 0.055
Note on F43: Tembe Dinesh: From Sewro fort to Carnac R/S
Note on F47: Tembe Dinesh: Dharavi RS to Twr No. 2 - 0.181 kM Cable Twr No. 18 to BKC GIS - 2.094kM Cable
Note on F48: Tembe Dinesh: Dharavi RS to Twr No. 2 - 0.200 kM Cable Twr No. 18 to BKC GIS - 2.094kM Cable
Note on F49: Tembe Dinesh: Dharavi RS to Twr no. 2 - 0.191 KM Cable Twr No. 18 to Kurla GIS - 3.0 KM Cable
Note on F50: Tembe Dinesh: Dharavi RS to Twr No. 2 - 0.255 KM Cable Twr No. 18 to Kurla GIS - 5.207 KM Cable
Note on F51: Tembe Dinesh: 1C X 1600mm², Cu. Cable 0.225 KM from Dharavi RS to tower no. 2. 0.138 KM from from tower no. 60 to Vikhroli GIS
Note on F52: Tembe Dinesh: 1C X 1600mm², Cu. Cable 0.150 KM from Dharavi RS to tower no. 2. 0.138 KM from from tower no. 60 to Vikhroli GIS
Note on F53: Tembe Dinesh: 1C X 1600mm², Cu. Cable from tower no. 60 to Vikhroli GIS
Note on F54: Tembe Dinesh: 1C X 1600mm², Cu. Cable from tower no. 60 to Vikhroli GIS
Note on F57: Tembe Dinesh: 1C X 1600mm², Cu. Cable from Saki to Kurla
Note on F58: Tembe Dinesh: 1C X 1600mm², Cu. Cable from Saki to BKC
Note on F62: Tembe Dinesh: 1C X 1600mm², Cu. Cable
Note on F63: Tembe Dinesh: 1C X 1600mm², Cu. Cable
Note on E77: Tembe Dinesh: Section from Dharavi RS to Loc. 32 (Somaiya Plot) = 3.05 KM Section from Trombay end to Loc. 13D = 2.8 KM
Note on E78: Tembe Dinesh: Section from Trombay end to Loc. 13D = 2.4 KM